## Sheet1
Thumbrule : CSSD Design & Equipment Requirement
Hospital Bed Size | Parameter | 0-20 | 20-30 | 30-50 | 50-70 | 70-100 | 100-150 | 150-200 | 200-300 | 300-500 | 500-800 |  | 800-1000 |  | 1000-1200 |  | 1200-1500 |  | 1500-2000
CSSD area Required in Sq Ft @ 7.5 per bed |  | 150 | 200 | 350 | 500 | 700 | 1000 | 1500 | 2000 | 3500 | 5000 |  | 7000 |  | 8500 |  | 10500 |  |  | 14000
Cyliendrical Autoclave | Size | 16×24 Sigle Door | 20×36 Single Door | 20×48 Double Door | 20×48 Double Door | 20×48 Double Door | 20×48 Double Door | 0 | 20×48 Double Door | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| Qty | 1 | 1 | 1 | 2 | 2 | 1 | 0 | 1 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| Rate | 480000 | 520000 | 580000 | 580000 | 580000 | 580000 | 0 | 580000 | 580000 | 580000 |  | 580000 |  | 580000 |  | 580000 | 580000 | 580000 | 580000
| Amount | 480000 | 520000 | 580000 | 1160000 | 1160000 | 580000 | 0 | 580000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reactangular Autoclave | Size | Not Recommended |  |  |  |  | 2×2×4 Double Door | 2×2×4 Double Door | 2×2×4 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door
| Qty | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 4 | 1 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | 3 | 3
| Rate | 0 | 0 | 0 | 0 | 0 | 2400000 | 2400000 | 2400000 | 2400000 | 3000000 | 2400000 | 3000000 | 2400000 | 3000000 | 2400000 | 3000000 | 2400000 | 3000000 | 2400000
| Amount | 0 | 0 | 0 | 0 | 0 | 2400000 | 4800000 | 4800000 | 9600000 | 3000000 | 7200000 | 6000000 | 7200000 | 6000000 | 7200000 | 9000000 | 7200000 | 9000000 | 7200000
Vertical Autoclave | Size | 16×24 | 16×24 | 16×24 | 16×24 | 16×24 | Not Required Considering Bed Size
| Qty | 1 | 1 | 1 | 1 | 1
| Rate | 85000 | 85000 | 85000 | 85000 | 85000
| Amount | 85000 | 85000 | 85000 | 85000 | 85000
Flash Autoclave | Size | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" |  | 2"x1.66"x2'5" |  | 2"x1.66"x2'5" |  | 2"x1.66"x2'5" |  | 2"x1.66"x2'5"
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2
| Rate | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 |  | 250001 |  | 250002 |  | 250003 |  | 250004
| Amount | 0 | 0 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 500000 |  | 500002 |  | 500004 |  | 500006 |  | 500008
ETO Size | Size | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 18x18x48 | 18x18x48 |  | 18x18x48 |  | 18x18x48 |  | 18x18x48 |  | 18x18x48
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
| Rate | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 1400000 | 1400000 |  | 1400000 |  | 1400000 |  | 1400000 |  | 1400000
| Amount | 0 | 0 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 1400000 | 1400000 |  | 1400000 |  | 1400000 |  | 1400000 |  | 1400000
Heat Sealing Machine | Size | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch |  | 26 Inch |  | 26 Inch |  | 26 Inch |  | 26 Inch
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 |  | 2 |  | 2 |  | 2 |  | 2
| Rate | 55000 | 55000 | 55000 | 55000 | 55000 | 55000 | 55000 | 55000 | 55000 | 55000 |  | 55000 |  | 55000 |  | 55000 |  | 55000
| Amount | 0 | 0 | 55000 | 55000 | 55000 | 55000 | 55000 | 55000 | 110000 | 110000 |  | 110000 |  | 110000 |  | 110000 |  | 110000
ETO Packing Table | Size | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3
| Qty | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2
| Rate | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 |  | 45000 |  | 45000 |  | 45000 |  | 45000
| Amount | 0 | 0 | 0 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 90000 |  | 90000 |  | 90000 |  | 90000 |  | 90000
Washer Disinfector Size | Size | 0 | 0 | 0 | 105 Ltr | 105 Ltr | 105 Ltr | 105 | 200 Ltr Double Door Imported | 200 Ltr Double Door Imported | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported
| Qty | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
| Rate | 275000 | 275000 | 275000 | 275000 | 275000 | 275000 | 275000 | 3500000 | 3500000 | 3500000 |  | 3500000 |  | 3500000 |  | 3500000 |  | 3500000
| Amount | 0 | 0 | 0 | 275000 | 275000 | 275000 | 275000 | 3500000 | 3500000 | 3500000 |  | 3500000 |  | 3500000 |  | 3500000 |  | 3500000
Ultrasonic Cleaner Size | Size | 30 Ltr | 30 Ltr | 30 Ltr | 30 Ltr | 30 Ltr | 40 Ltr | 47 Ltr | 90 Ltr | 90 Ltr | 90 Ltr |  | 90 Ltr |  | 90 Ltr |  | 90 Ltr |  | 90 Ltr
| Qty | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 2 |  | 2 |  | 2 |  | 2
| Rate | 185000 | 185000 | 185000 | 185000 | 185000 | 240000 | 270000 | 350000 | 350000 | 350000 |  | 350000 |  | 350000 |  | 350000 |  | 350000
| Amount | 0 | 0 | 0 | 185000 | 185000 | 240000 | 270000 | 350000 | 350000 | 350000 |  | 700000 |  | 700000 |  | 700000 |  | 700000
Hot Air Ovan | Size | 18×18×18 | 18×18×18 | 18×18×18 | 18×18×18 | 18×18×18 | 18×18×18 | 24×24×24 | 24×24×24 | 24×24×24 | 24×24×24 |  | 24×24×24 |  | 24×24×24 |  | 24×24×24 |  | 24×24×24
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2
| Rate | 165000 | 165000 | 185000 | 185000 | 185000 | 185000 | 250000 | 250000 | 250000 | 250000 |  | 250000 |  | 250000 |  | 250000 |  | 250000
| Amount | 0 | 0 | 185000 | 185000 | 185000 | 185000 | 250000 | 250000 | 250000 | 500000 |  | 500000 |  | 500000 |  | 500000 |  | 500000
Pass Box Qty Size | Size in mm | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 |  | 600×600×600 |  | 600×600×600 |  | 600×600×600 |  | 600×600×600
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
| Rate | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 |  | 115000 |  | 115000 |  | 115000 |  | 115000
| Amount | 0 | 0 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 | 115000 |  | 115000 |  | 115000 |  | 115000 |  | 115000
Storage Rack Qty Size | Size | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 |  | 5×3×1.5 |  | 5×3×1.5 |  | 5×3×1.5 |  | 5×3×1.5
| Qty | 1 | 1 | 2 | 2 | 4 | 6 | 8 | 10 | 12 | 16 |  | 18 |  | 20 |  | 24 |  | 30
| Rate | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 |  | 45000 |  | 45000 |  | 45000 |  | 45000
| Amount | 45000 | 45000 | 90000 | 90000 | 180000 | 270000 | 360000 | 450000 | 540000 | 720000 |  | 810000 |  | 900000 |  | 1080000 |  | 1350000
Open Trolly | Size | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5
| Qty | 1 | 1 | 2 | 2 | 4 | 4 | 4 | 6 | 6 | 6 |  | 8 |  | 8 |  | 8 |  | 8
| Rate | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 |  | 45000 |  | 45000 |  | 45000 |  | 45000
| Amount | 45000 | 45000 | 90000 | 90000 | 180000 | 180000 | 180000 | 270000 | 270000 | 270000 |  | 360000 |  | 360000 |  | 360000 |  | 360000
Close Trolly Size | Size | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5
| Qty | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 |  | 4 |  | 4 |  | 4 |  | 4
| Rate | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 |  | 45000 |  | 45000 |  | 45000 |  | 45000
| Amount | 0 | 0 | 45000 | 45000 | 90000 | 90000 | 90000 | 135000 | 135000 | 135000 |  | 180000 |  | 180000 |  | 180000 |  | 180000
Work Table Size | Size | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3
| Qty | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 |  | 3 |  | 3 |  | 3 |  | 3
| Rate | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 |  | 45000 |  | 45000 |  | 45000 |  | 45000
| Amount | 0 | 0 | 45000 | 45000 | 90000 | 90000 | 90000 | 135000 | 135000 | 135000 |  | 135000 |  | 135000 |  | 135000 |  | 135000
Expected Tentative Budget | Minimum | 655000 | 695000 | 1990000 | 3075000 | 3345000 | 5225000 | 7230000 | 11385000 | 16700000 | 18025000 |  | 21600002 |  | 21690004 |  | 24870006 |  | 25140008
| Maximum | 818750 | 868750 | 2487500 | 3843750 | 4181250 | 6531250 | 9037500 | 14231250 | 20875000 | 22531250 |  | 27000002.5 |  | 27112505 |  | 31087507.5 |  | 31425010

## Sheet2
Thumbrule : CSSD Design & Equipment Requirement
Hospital Bed Size | Parameter | 0-20 | 20-30 | 30-50 | 50-70 | 70-100 | 100-150 | 150-200 | 200-300 | 300-500 | 500-800 |  | 800-1000 |  | 1000-1200 |  | 1200-1500 |  | 1500-2000
CSSD area Required in Sq Ft | @ 7.5 per bed | 150 | 200 | 350 | 500 | 700 | 1000 | 1500 | 2000 | 3500 | 5000 |  | 7000 |  | 8500 |  | 10500 |  |  | 14000
Cyliendrical Autoclave | Size | 16×24 Sigle Door | 20×36 Single Door | 20×48 Double Door | 20×48 Double Door | 20×48 Double Door | 20×48 Double Door | 0 | 20×48 Double Door | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| Qty | 1 | 1 | 1 | 2 | 2 | 1 | 0 | 1 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Reactangular Autoclave | Size | Not Recommended |  |  |  |  | 2×2×4 Double Door | 2×2×4 Double Door | 2×2×4 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door | 2×3×5 Double Door | 2×2×4 Double Door
| Qty | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 4 | 1 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | 3 | 3
Vertical Autoclave | Size | 16×24 | 16×24 | 16×24 | 16×24 | 16×24 | Not Required Considering Bed Size
| Qty | 1 | 1 | 1 | 1 | 1
Flash Autoclave | Size | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" | 2"x1.66"x2'5" |  | 2"x1.66"x2'5" |  | 2"x1.66"x2'5" |  | 2"x1.66"x2'5" |  | 2"x1.66"x2'5"
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2
ETO | Size | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 12x12x54 | 18x18x48 | 18x18x48 |  | 18x18x48 |  | 18x18x48 |  | 18x18x48 |  | 18x18x48
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
Heat Sealing Machine | Size | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch | 26 Inch |  | 26 Inch |  | 26 Inch |  | 26 Inch |  | 26 Inch
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 |  | 2 |  | 2 |  | 2 |  | 2
ETO Packing Table | Size | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3
| Qty | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2
Washer Disinfector | Size | 0 | 0 | 0 | 105 Ltr | 105 Ltr | 105 Ltr | 105 Ltr | 200 Ltr Double Door Imported | 200 Ltr Double Door Imported | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported |  | 200 Ltr Double Door Imported
| Qty | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
Ultrasonic Cleaner | Size | 30 Ltr | 30 Ltr | 30 Ltr | 30 Ltr | 30 Ltr | 40 Ltr | 47 Ltr | 90 Ltr | 90 Ltr | 90 Ltr |  | 90 Ltr |  | 90 Ltr |  | 90 Ltr |  | 90 Ltr
| Qty | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 2 |  | 2 |  | 2 |  | 2
Hot Air Ovan | Size | 18×18×18 | 18×18×18 | 18×18×18 | 18×18×18 | 18×18×18 | 18×18×18 | 24×24×24 | 24×24×24 | 24×24×24 | 24×24×24 |  | 24×24×24 |  | 24×24×24 |  | 24×24×24 |  | 24×24×24
| Qty | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2
Pass Box | Size in mm | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 | 600×600×600 |  | 600×600×600 |  | 600×600×600 |  | 600×600×600 |  | 600×600×600
| Qty | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1
Storage Rack | Size | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 | 5×3×1.5 |  | 5×3×1.5 |  | 5×3×1.5 |  | 5×3×1.5 |  | 5×3×1.5
| Qty | 1 | 1 | 2 | 2 | 4 | 6 | 8 | 10 | 12 | 16 |  | 18 |  | 20 |  | 24 |  | 30
Open Trolly | Size | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5
| Qty | 1 | 1 | 2 | 2 | 4 | 4 | 4 | 6 | 6 | 6 |  | 8 |  | 8 |  | 8 |  | 8
Close Trolly | Size | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5 |  | 2×3×2.5
| Qty | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 |  | 4 |  | 4 |  | 4 |  | 4
Work Table | Size | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3 |  | 5×3×3
| Qty | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 |  | 3 |  | 3 |  | 3 |  | 3
Expected Tentative Cost | Rs | 6.5 to 8 Lakhs | 7 to 8.5 Lakhs | 20 to 25 Lakhs | 30 to 38 Lakhs | 33 to 42 Lakhs | 52 to 65 Lakhs | 72 to 90 Lakhs | 1.1 to 1.4 Cr | 1.6 to 2 Cr | 1.8 to 2.25 Cr |  | 2.1 to 2.7 Cr |  | 2.1 to 2.7 Cr |  | 2.5 to 3.1 Cr |  | 2.5 to 3.1 Cr